CLEAN ROOM WORK SHEETS

CLEAN ROOM UNDER TEST

CLASSIFICATION:					STANDARD:

DATE:		  		                (      )	LAMINAR FLOW CLEAN ROOM			AS1386

CLASS:				                 (     )       NON LAMINAR FLOW CLEAN ROOM		AS1386

LOCATION:

CLIENT:

ADDRESS:

CONTACT:

PHONE NO:

TEST REPORT NO:

Page  1 of 8                                                                                                      Form CCQ010

ROOM LOCATION:

TEST WORK SHEET

CLASSIFICATION:

(      )	LAMINAR FLOW CLEAN ROOM

(      )	NON LAMINAR FLOW CLEAN ROOM

TEST DESCRIPTION:							PASS		FAIL		N/A

A)	Air Velocity, Uniformity & Pressure				(        )		(        )		(        )

B)	Air Changes per Hour						(        )		(        )		(        )

C)	H.E.P.A. Filter Integrity – Supply Air				(        )		(        )		(        )

D)	H.E.P.A. Filter Integrity – Return / Exhaust Air			(        )		(        )		(   *  )

E)	Plan Layout / Air Pressure Differentials				(        )		(        ) 		(        )

F)	Total Air Quantities						(        )		(        )		(        )

G)	Airborne Particulate Count in Work Zone				(        )		(        )		(        )

H)	Class 3.5 or other Air Requirements				(        )		(        )		(        )

(see note 3 below)

J)	Light Intensity							(        )		(        )		(        )

K)	Sound Level							(        )		(        )		(        )

L)	Test Instruments						(        )		(        )		(        )

Note:	1)	( / ) 	Not applicable or not scheduled.

2)	( * )	Indicates relevant result or test method.

3)	Compliance to Class 3.5 (U.S. Fed Standard Class 100). Air cleanliness requirements is established on the basis of compliance to tests A, C and F, as detailed above.

TESTED BY:	      					DATE:

TEST REPORT NO:

Page  2  of  8

## Form CCQ010

| AIR CHANGE RATE CALCULATION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DATE: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ROOM | FILTER | FILTER |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | AVE | FLOW | ROOM | AIR |
|  | No: | AREA |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | VEL | RATE | VOL | CHANGE |
|  |  | (M2) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | (m/s) | (m3/s) | (m3) | RATE (ACR) |
| Cleanroom 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | TOTAL |  |  |  |
| Cleanroom 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | TOTAL |  |  |  |
| Airlock |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | TOTAL |  |  |  |
| Pressures |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ROOM | Pressure (Pa) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cleanrm 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cleanrm 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Airlock |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

TEST REPORT NO:

TESTED BY:										DATE:

## Page  3  of  8	                                                                                                                                                       Form CCQ010

HEPA FILTER INTEGRITY

AS1807.6 – DETERMINATION OF INTEGRITY OF TERMINALLY MOUNTED HEPA FILTER INSTALLATION

FILTER

FILTER

FILTER

FILTER

FILTER

FILTER

FILTER

FILTER

FILTER

FILTER

DOP Generator Pressure…………………………kPA                                                No of Nozzles Used………………………………

Indicates Leaks sealed By  xxxxxxxxxxxxxxxxxx		                            Indicates Leaks not sealed   00000000000

Velocities reduced to less than 0.60 m/sec      YES   (     )      No    (      )              NLD -   No Leaks Detected

How was DOP Introduced   ………………………………………………………………………………………………………………………

REMARKS AND RECOMMENDATIONS:

Filter Sizes:

TEST REPORT NO:								DATE:

Page  4  of  8                                                                            Form CCQ010

TEST WORK SHEET

LIGHTING INTENSITY

METHOD:			AS1807.15 – DETERMINATION OF ILLUMINANCE

- ALL LIGHTING INTENSITIES ARE SHOWN AS UNITS OF LUX

2.				CONDITION OF LIGHTING INSTALLATION	-

3.				MINIMUM LIGHTING INTENSITY =

MINIMUM REQUIREMENT OF STANDARD = 800 LUX

THEREFORE RESULTS OBTAINED = PASS

| POSITION NO: | READING (Lux) | POSITION NO: | READING (Lux) |
| --- | --- | --- | --- |
| P.1 |  | P.10 |  |
| P.2 |  | P.11 |  |
| P.3 |  | P.12 |  |
| P.4 |  | P.13 |  |
| P.5 |  | P.14 |  |
| P.6 |  | P.15 |  |
| P.7 |  | P.16 |  |
| P.8 |  | P.17 |  |
| P.9 |  | P.18 |  |

SOUND LEVELS IN CLEANROOM

METHOD:				AS1807.16:	DETERMINATION OF SOUND LEVEL IN CLEANROOMS

CALIBRATION CHECK PRIOR TO EACH INDIVIDUAL READING	-	YES (    )		NO (     )

READING =

MAXIMUM ALLOWABLE READING = 68.0 dB(A)		MAXIMUM READING OBTAINED =

| POSITION NO: | READING dB(A) | POSITION NO: | READING dB(A) |
| --- | --- | --- | --- |
| P.1 |  | P.10 |  |
| P.2 |  | P.11 |  |
| P.3 |  | P.12 |  |
| P.4 |  | P.13 |  |
| P.5 |  | P.14 |  |
| P.6 |  | P.15 |  |
| P.7 |  | P.16 |  |
| P.8 |  | P.17 |  |
| P.9 |  | P.18 |  |

TEST REPORT NO:					                                                   DATE:

Page  5  of  8            Form CCQ010

AIRBOURNE PARTICLE COUNTS IN WORK ZONE -TEST WORK SHEET

The following tests were conducted using a calibrated particle analyser Serial No:

Each test is a 10 litre sample.

Tests Used:

Australian Standard AS1386 – 1989, Cleanrooms and clean workstations:

AS1386.1 – 1989:	Part 1: Principle of clean space control.

AS1386.2 – 1989:	Part 2: Laminar flow cleanrooms.

AS1386.3 – 1989:	Part 3: Non laminar flow cleanrooms – Class 350 and cleaner.

AS1386.4 – 1989:	Part 4: Non laminar flow cleanrooms – Class 3500.

AS1807.8 – 2000:	Particle counting in work zone by automatic particle counter.

| SAMPLE POSITION | PARTICLE COUNT (PARTICLES) 0.5µm 5.0µm |  | PARTICLE LITRE 1 LITRE/SAMPLE 0.5µm 5.0µm |  | SAMPLE POSITION | PARTICLE COUNT (PARTICLES) 0.5µm 5.0µm |  | PARTICLE LITRE 1 LITRE/SAMPLE 0.5µm 5.0µm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| P.1 |  |  |  |  | P.10 |  |  |  |  |
| P.2 |  |  |  |  | P.11 |  |  |  |  |
| P.3 |  |  |  |  | P.12 |  |  |  |  |
| P.4 |  |  |  |  | P.13 |  |  |  |  |
| P.5 |  |  |  |  | P.14 |  |  |  |  |
| P.6 |  |  |  |  | P.15 |  |  |  |  |
| P.7 |  |  |  |  | P.16 |  |  |  |  |
| P.8 |  |  |  |  | P.17 |  |  |  |  |
| P.9 |  |  |  |  | P.18 |  |  |  |  |

Note:	All particle counts taken with the cleanroom in ‘Operation’ mode.

TESTED BY:

TEST REPORT NO:								DATE:

Page  6  of  8

## Form CCQ010

# CLEANROOM COMPLEX TEST WORK SHEET

PLAN VIEW – NOT TO SCALE

TEST REPORT NO:

Page  7  of  8

## Form CCQ010

TEST EQUIPMENT WORK SHEET

SERIAL NO:	CALIBRATION REPORT NO:	DATE OF NEXT CAL.

1.           AIRBOURNE PARTICLE ANALYSER:

2.          AEROSOL PHOTOMETER:

3.	D.O.P. AEROSOL GENERATOR:			                            IN HOUSE		            Monthly Check

- ANEMOMETER:

5.	DIGITAL MANOMETER 0 to 1KPa:

6.	ILLUMINANCE METER:

7.	SOUND LEVEL METER:

8.	SOUND CALIBRATOR:

CONCLUSION:

| TEST | STANDARD | DESCRIPTION: | PAGE NO: | PASS / FAIL |
| --- | --- | --- | --- | --- |
| A | AS1807.3 | AIR VELOCITY | 3 |  |
| * B | GMP AS1807 | AIR CHANGE RATE | 3 |  |
| C | AS1807.6 | HEPA FILTER INTEGRITY | 4 |  |
| F | AS1807.10 | ROOM AIR DIFFERENTIALS | 3 & 7 |  |
| G | AS1807.8 | PARTICLE COUNTS IN WORK ZONE | 5 |  |
| J | AS1807.15 | LIGHT INTENSITY | 6 |  |
| K | AS1807.16 | SOUND LEVEL | 6 |  |

The above tests show that the room complies to Class ……………………    AS  ……………………………….

NOTE:	Test B – Marked thus * not covered by N.A.T.A. scope of accreditation.

TEST REPORT NO:								DATE:

## Page  8  of  8                                                                                                                                Form CCQ010